## Survey
|  |  | Survey date | 2025-07-22 |  |  |  |  | Electrics | Electric Shower
New installation
|  |  | Key safe required |  | No |  | VIP | No |  | Electric shower |  |  | Yes
|  |  | Asbestos R&D survey required |  |  | Yes |  |  |  | 10mm cable required |  |  | Yes
Property ID |  |  | Surveyor |  | Oliver Fussell |  |  |  |  | Extraction fan
Bathroom survey
Address |  | 64 Queen Ann Road | [7 empty] | Core hole required |  |  | No
Resident name |  |  | Contact number | Contact number | [5 empty] | Light fittings
Parking | Front of property | [8 empty] | 10W Thorn Lara
[10 empty] | Dimplex heater |  |  | Shaver socket/light
[10 empty] | Not required |  |  | Replace existing
Waste | front of property
[10 empty] | Consumer unit location |  |  | Inside front door
[10 empty] | Photo of fuse board |  | (Place photos here)
Notes/ high risks
Colour choice | Emulsion |  |  | Non-slip flooring |  |  | Wetroom
| Chic Shadow |  |  | Fjord Black |  |  | No
All bathrooms/wetrooms will come with white wall tiles
Sub-base | Floorboards/chipboard
Plumbing | Boiler |  |  |  | Thermostatic mixer taps
| Conventional |  |  |  | No
Notes
| Bath |  |  | Type | Standard |  |  |  |  | Photo of smoke/heat detector |  |  |  | Date on sticker
|  |  |  | Size | 1700mm
Notes
| Basin |  |  | Type | Pedestal
|  |  |  | Size | 550mm
Notes
| Toilet |  |  |  | Close coupled
Notes
Shower tray
| Tray Size |  |  |  | Not required |  |  |  | Gas | Gas to property? |  |  | Yes
| Photo of stop tap |  |  |  | (Place photos here) |  |  |  |  | Reposition radiator |  |  | NO
[10 empty] | Relocate cooker gas point? |  |  | No
[10 empty] | Left |  |  | Right
Measurements
[10 empty] | Open flued gas appliance? |  |  | No
Disclaimer by resident
Flooring
| Location |  | under kitchen sink | [5 empty] | Sovereign's policy is to use non slip flooring. I understand that, if I'd like to keep my existing flooring, and this doesn't comply with the Sovereign standard, I'm responsible for the maintenance, health and safety and replacing of this flooring if Sovereign needs access underneath it at any point.
Walls | Existing finish
Plaster
Condition
| Good | [7 empty] | Tiling
| Prep. Required | [7 empty] | Sovereign's policy is to tile with their standard wall tiles. I understand that, if I'd like to use my own tiles, I'm responsible for applying them; maintaining them; and replacing them if Sovereign carries out any repair/ maintenance work that may cause damage or require the tiles to be removed.
Photos of bathroom
Floor is rotten will need sectional replacement, HVAC system no extractor needed
Paint
If I'd like Sovereign to use my own paint during the refurbishment, I understand that I'll be responsible for maintaining this and that I'll deal with any defects relating to the paint.
Under 18s in the home
I'm aware that Sovereign operatives can't work in my home if there are unsupervised under 18s. I confirm that there won’t be any unsupervised under 18s in my home during the refurbishment works.
Key safe
If I can't and/or may not be present for all of the planned refurbishment works and a key safe is required, I give my consent for one to be installed and for the works to continue in my absence.
Additional works and extras | [8 empty] | Working in the home
I confirm that I can't and/or may not be present for all of the planned refurbishment works. I give my permission for Sovereign operatives to work at my home in my absence. I also accept that Sovereign can't be held responsible for any items that might be lost or damaged during this time.
Please note that we'll store this disclaimer on file for future reference
[9 empty] | Declaration |  | I'm signing to confirm that I agree to the selected colour choices and plan as shown to me during the survey. I also confirm I understand and accept the disclaimers above.
Lifts | Photos
| (Place photos here) | [5 empty] | Email sent to lifts-cm @sovereign. org.uk
Resident's signature
[7 empty] | Yes | No
Doc Ref | Document Owner |  | Version | Status | Issued Date |  | Review Date |  | Page
IMS-OPF-059 | Paul Assirati |  | 1.0 | issued | 2020-07-09 |  | 2022-07-09 |  | 1
Authorised by P Assirati |  |  |  |  | Uncontrolled if printed, check issue before use

## Colour choices
White | sherwood blond | timber natural
Fjord Black

## Drop down data
Emulsion | Non-slip flooring | Wetroom | Sub-base floor | Boiler | Bath | Bath size | Basin type | Basin size | Toilet | Shower tray | Existing wall finish | Condition | Prep. Required | Shower | Extraction fan | Core hole required? | Light fittings | Dimplex heater | Shaver socket/light | Column8 | Column9
White | Sherwood blond | Yes | Concrete/latex | Combi boiler | Standard | 1500mm | Pedestal | 400mm | Close coupled | Keep existing | Wallpaper | Poor | Excessive wall tiles/strip wallpaper | New installation | New installation | Yes | Baton holder | New installation | New installation
Magnolia | Timber natural | No | Floorboards/chipboard | Conventional | Low line | 1600mm | Wall hung | 500mm | Low level | New install | Plaster | Fair | Keep existing wallpaper | Use existing | Use existing | No | 10W Thorn Lara | Use existing | Use existing
Chic Shadow | Matera natural |  |  | Other | Other | 1700mm | Other | 550mm | Concealed cistern | Not required |  | Good | Splash back required | Replace existing | Replace existing |  | Other | Replace existing | Replace existing
| Fjord Black |  |  |  |  | Other |  | Other | Other |  |  | Excellent | Extensive prep/skim | Downgrade existing shower |  |  |  | Not required | Not required
Not required

## Bathroom Pick List Aug 19
Planned Works Bathroom - Pick List
|  |  | Job Number | B170542 | Please can this order be deivered to site on: |  |  | 00/00/2020
|  |  | Employee Number | 14596
|  |  | Card Number | 900130778
|  |  | Address | 15 BAILY AVE, RG18 3EG
TP Code |  | ITEM DESCRIPTION |  |  | UNIT | QTY | PRICE | Sub Total
|  | Bath |  |  |  | .
Baths | 973906 | TWYFORD CELTIC STEEL BATH 1700 ANTISLIP TWIN GRIP & LEGS BL1572WH. |  |  | EA |  | 53.2 |  | 0
| 520667 | TWYFORD CELTIC STEEL BATH 1600 ANTISLIP TWIN GRIP & LEGS BL1272WH. |  |  | EA |  | 56.03 |  | 0
| 520665 | TWYFORD CELTIC STEEL BATH 1500 ANTISLIP TWIN GRIP & LEGS BL1472WH. |  |  | EA |  | 56.03 |  | 0
Taps and Shower Kit
Taps | 101085 | DESIGN UTILITY LVR TMV2 THERM BSM C/P |  |  | EA |  | 130 |  | 0
| 805778 | LEVER BATH TAP (PAIR) |  |  | PR |  | 12.75 |  | 0
| 805781 | LEVER BASIN TAPS (PAIR) |  |  | PR |  | 10.2273 |  | 0
| 884538 | EVO EVKIT01C SF SHOWER KIT CP |  |  | EA |  | 20.84 |  | 0
Fittings and tube
Plumbing | 961159 | WRAS QQE ISOLATING VALVE 15MM CP (10130209). |  |  | EA |  | 0.65 |  | 0
| 961708 | (+E14:T22ISV22CP) 22MM CXC CP ISOLATING VALVE 135807 PS. |  |  | EA |  | 1.35 |  | 0
| 313813 | WEDNESBURY COPPER TUBE PLAIN LENGTHS 15MM X 3M TABLE X X015L-3. per 3 metres. |  |  | EA |  | 1.87 |  | 0
| 119745 | WEDNESBURY COPPER TUBE PLAIN LENGTHS 22MM X 3M TABLE X X022L-3. This needs to be ordered per 3 metres. |  |  | EA |  | 3.63 |  | 0
| 500898 | PLUMB RIGHT 15MM COMP X 1/2" TAP CONN X30CM (PR) |  |  | EA |  | 0.95 |  | 0
| 506150 | P/R 22MM COMP X 3/4" TAP CONN X30CM (PR) |  |  | EA |  | 2.05 |  | 0
| 805781 | LEVER BASIN TAPS (PAIR) |  |  | EA |  | 10.23 |  | 0
| 805778 | LEVER BATH TAP (PAIR) |  |  | EA |  | 12.75 |  | 0
| 604579 | IFLO LEVER DECK MIXER SINK |  |  | EA |  | 22.5 |  | 0
| 604577 | IFLO LEVER SINK TAPS |  |  | EA |  | 16.87 |  | 0
| 345112 | WASH BASIN FIXING SET FIXING KIT FOR SOLID WALL MOUNTING |  |  | BG |  | 1.0875 |  | 0
| 847903 | SPEEDFIT STRAIGHT TAP CONNECTOR 15X1/2 PEMSTC1514. |  |  | EA |  | 1.5652 |  | 0
| 847905 | SPEEDFIT STRAIGHT TAP CONNECTOR 22X3/4 PEMSTC2216. |  |  | EA |  | 2.08 |  | 0
| 570500 | FULL FLOW 15MM ISOLATING VALVE. |  |  | EA |  | 1.3926 |  | 0
| 941170 | SPEEDFIT 15MMX1/2 BSP 300MM FLEXIHOSE UNION NUT FLX15. |  |  | EA |  | 1.4909 |  | 0
| 941171 | SPEEDFIT 22MM3/4 BSP 300MM FLEXIHOSE UNION NUT FLX22. |  |  | EA |  | 2.1429 |  | 0
| 570622 | FULL FLOW 22MM ISOLATING VALVE. |  |  | EA |  | 2.3886 |  | 0
Osma 11/4" Waste
| 864237 | OSMAWELD 32MM WASTE SYSTEM WHITE PLAIN ENDED PIPE 3M 4Z073. |  |  | EA |  | 2.23 |  | 0
| 757926 | OSMAWELD 32MM WASTE SYSTEM WHITE PIPE BRACKET 4Z081. |  |  | EA |  | 0.17 |  | 0
| 757928 | OSMAWELD 32MM WASTE SYSTEM WHITE DOUBLE SOCKET 4Z104. |  |  | EA |  | 0.47 |  | 0
| 757931 | OSMAWELD 32MM WASTE SYSTEM WHITE KNUCKLE BEND 4Z160. |  |  | EA |  | 0.63 |  | 0
| 757933 | QA |  |  | EA |  | 0.59 |  | 0
| 757935 | OSMAWELD 32MM WASTE SYSTEM WHITE TEE 87-1/2DEG 4Z190. |  |  | EA |  | 0.79 |  | 0
Osma 11/2" Waste
| 793487 | OSMAWELD 40MM WASTE SYSTEM WHITE PLAIN ENDED PIPE 3M 5Z073. |  |  | EA |  | 2.75 |  | 0
| 757971 | OSMAWELD 40MM WASTE SYSTEM WHITE PIPE BRACKET 5Z081. |  |  | EA |  | 0.17 |  | 0
| 757974 | OSMAWELD 40MM WASTE SYSTEM WHITE DOUBLE SOCKET 5Z104. |  |  | EA |  | 0.49 |  | 0
| 757977 | OSMAWELD 40MM WASTE SYSTEM WHITE KNUCKLE BEND 90DEG 5Z160. |  |  | EA |  | 0.75 |  | 0
| 757962 | OSMAWELD 40MM WASTE SYSTEM WHITE BEND 45DEG 5Z163. |  |  | EA |  | 0.66 |  | 0
| 757964 | OSMAWELD 40MM WASTE SYSTEM WHITE TEE 87-1/2DEG 5Z190. |  |  | EA |  | 0.83 |  | 0
Pan Connectors
| 961627 | PEERLESS WASTE COMBINED 1.5 BATH 5 STAR 200508 FOV414 |  |  | EA |  | 1.825 |  | 0
| 948731 | PEERLESS BASIN WASTE 1.25 CHAIN + POLY PLUG 201240 WST300 |  |  | EA |  | 2.3 |  | 0
| 281831 | 4TRADE 1/2" PILLAR POLY TAP WASHER PK 10. |  |  | PK |  | 0.51 |  | 0
| 820154 | MCALPINE TRAP 1 1/2X50MM SM10 |  |  | EA |  | 3.6 |  | #REF!
| 960849 | MCALPINE TRAP 1 1/4X3TUBULAR P SA10 |  |  | EA |  | 2.22 |  | 0
| 931550 | HUNT M/KWIK W.C. PAN CONN MKS1 |  |  | EA |  | 2.8 |  | 0
| 931557 | HUNT M/KWIK W.C. PAN CONN BEND MKB2190 |  |  | EA |  | 3.92 |  | 0
|  | Sanitaryware |  |  |  | .
Sanitaryware | 885400 | TWYFORD ALCONA WC PAN HO AR1148WH. |  |  | EA |  | 21.5 |  | 0
| 885401 | TWYFORD ALCONA CISTERN 4/2.6L AR2342WH. |  |  | EA |  | 32.7 |  | 0
| 305043 | TWYF OPTION 550 2TH BASIN WHIT OT4212WH |  |  | EA |  | 20.8 |  | 0
| 885408 | TWYFORD AL CONA WASH BASIN 50CM 2TH AR4112WH |  |  | EA |  | 35.86 |  | 0
| 885456 | TWYFORD ALCONA HANDRINSE 40CM 2 TAP AR4812WH. |  |  | EA |  | 16.3 |  | 0
| 305044 | TWYF OPTION PEDESTAL WHITE OT4910W |  |  | EA |  | 16.1 |  | 0
| 931310 | TWYFORD CLASSIC PAN LOW LEVEL WASH DOWN HORIZONTAL OUTLET WHITE CC1138WH. |  |  | EA |  | 16.5 |  | 0
| 890211 | CLASSIC CISTERN LOW LEVEL BOTTOM SUPPLY DIRECT OVERFLOW WHITE CC2641WH. |  |  | EA |  | 54.2 |  | 0
| 552234 | TWYFORD BRAVO TOILET SEAT/COVER WHITE ST2810WH. |  |  | EA |  | 10.7 |  | 0
| 475483 | Total Install Bracket Pack For Sola 500 And 600mm Basins TI1960XX |  |  | EA |  | 12.44 |  | 0
Mira Showers
Showers | 824620 | MIRA SPORT 9.0KW WHITE/CHROME 1.1746.002. |  |  | EA |  | 151.68 | 1 | 0
| 824624 | MIRA SPORT THERMOSTATIC 9.0KW WHITE/CHROME 1.1746.005. |  |  | EA |  | 172.48 |  | 0
| 125791 | MIRA ADVANCE 8.7KW THERMOSTATIC ELECTRIC SHOWER 1.1785.001 |  |  | EA |  | 203 |  | 0
| 125804 | MIRA ADVANCE FLEX 8.7KW THERMO ELEC SHOWER W/FLEX FITTINGS 1.1785.003 |  |  | EA |  | 217 |  | 0
Curtain Rail
| 498309 | IFLO PRE FORMED L RAIL ANODISED 30"X72" |  |  | EA |  | 10.5 |  | 0
| 498310 | IFLO PRE FORMED STRAIGHT RAIL ANODISED 84" |  |  | EA |  | 8.75 |  | 0
Bath Panels & Timber
Bath Panels | 517480 | TAVISTOCK MILTON WOOD 1700MM FRONT BATH PANEL WHITE O313 |  |  | EA |  | 32.8606 |  | 0
| 517481 | TAVISTOCK MILTON WOOD 700MM END BATH PANEL WHITE O317 |  |  | EA |  | 17.1176 |  | 0
| 491883 | REDWOOD PLANED TIMBER STANDARD 50X50MM 2.4M (FIN SIZE 44X44MM). |  |  | Pk |  | 2.75 |  | 0
| 933126 | TWYFORD OMNIFIT 1700 BATH PANEL WHITE PP2171WH. |  |  | EA |  | 13.45 |  | 0
| 933150 | TWYFORD OMNIFIT END BATH PANEL WHITE PP2172WH. |  |  | EA |  | 5.1 |  | 0
| 974698 | TWYFORD OMNIFIT 1500 BATH PANEL WHITE PP2175WH |  |  | EA |  | 12 |  | 0
Tile Adhesive and Tiles
Tiling | 882676 | 4TRADE WATERPROOF WALL TILE ADH 10L |  |  | EA |  | 6.5 |  | 0
| 301099 | 4TRADE WALL TILE GROUT WHITE 2KG |  |  | EA |  | 1.2111 |  | 0
| 638547 | 778787 GLOSS BUMPY WHITE 200X250MM |  |  | EA |  | 0.31 |  | 0
| 791275 | WHITE 4TRADE TILE 150X150MM |  |  | SM |  | 3.96 |  | 0
| 314899 | JOHNSON VICT CRM GLOSS 150X150 PRV2 |  |  | SM |  | 9.68 |  | 0
| 873808 | GENESIS 6MM WHITE ROUND EDGE TILE TRIM ETR608.01 |  |  | EA |  | 0.49474 |  | 0
| 390543 | GENESIS 555 2MM WALL TILE SPACERS CROSS PACK |  |  | PK |  | 1.32 |  | 0
Flooring
Flooring | 585100 | P/SAFE STD AUTUMN BEIGE "CUTS ONLY" 2M |  |  | LM |  | 10.25 |  | 0
| 391031 | P/SAFE STD SILVER BIRCH "CUTS ONLY" 2M |  |  | LM |  | 10.25 |  | 0
| 973241 | P/SAFE STD ALPINE GREEN "CUTS ONLY" 2M |  |  | LM |  | 10.25 |  | 0
| 973242 | P/SAFE STD ARCTIC BLUE "CUTS ONLY" 2M |  |  | LM |  | 10.25 |  | 0
| 849709 | CEMENTONE CEMPOLATEX 25KG 1PK |  |  | EA |  | 9.99 |  | 0
| 910763 | BALL STYCCOBOND F44 FLOOR ADHESIVE |  |  | EA |  |  |  | 0
| 767330 | GEN PURP H/W PLY 2440X1220X3.6 |  |  | EA |  | 8.15 |  | 0
Decorating
Paint | 808249 | DULUX E/SHELL WHITE 2.5L |  |  | EA |  | 11.5 |  | 0
| 808249 | DT E/SHELL MAGNOLIA 2.5L |  |  | EA |  | 12.25 |  | 0
| 808249 | DULUX E/SHELL LIGHT BASE 2.5L -Chic Shadow |  |  | EA |  | 16.85 |  | 0
| 808249 | DULUX E/SHELL LIGHT BASE 2.5L - Mellow Mocha |  |  | EA |  | 16.85 |  | 0
| 808249 | DULUX E/SHELL LIGHT BASE 2.5L - Lemon Pie |  |  | EA |  | 16.85 |  | 0
| 808249 | DULUX E/SHELL LIGHT BASE 2.5L - Marine Splash |  |  | EA |  | 16.85 |  | 0
| 820200 | DT HIGH GLOSS WHITE 2.5 |  |  | EA |  | 15.2 |  | 0
| 808249 | DULUX E/SHELL LIGHT BASE 2.5L - Luscious Lime |  |  | EA |  | 16.85 |  | 0
Other
| 479510 | Hippo Dec Filler Wite 400ml |  |  | EA |  |  |  | 0
| 47913 | Hippo Sanitary Sealant White 400ml |  |  | EA |  |  |  | 0
| 47916 | Hippo Sanitary Sealant Clear 400ml |  |  | EA |  |  |  | 0
Other | 116910 | LINEAR 225X9MM CAP BOARD WHITE 3METRE LENGTH |  |  | EA |  |  |  | 0
| 879794 | WHITE WOOD PLANED TIMBER STANDARD 22X50MM - Skirting |  |  | EA |  |  |  | 0
| 800249 | Shower Hose 2m |  |  | EA |  |  |  | 0
| 312407 | HIPPO SKIP BAG |  |  | EA |  | 21 |  | 0
| 536885 | HIPPO MEGA BAG |  |  | EA |  | 8.38 |  | 0
| 131857 | 90 CM ALUMINIUM RAMP FLOOR PROFILE SILVER |  |  | EA |  |  |  | 0
| 848740 | Thistle Bonding Coat plaster 25kg bag |  |  | EA |  | 11.77 |  | 0
| 848743 | Thistle Multi Finish Plaster 25kg bag |  |  | EA |  | 8.75 |  | 0
| 345251 | EVO-STIK STICKS LIKE ALL WEATHER ADHESIVE WHITE 663688. |  |  | EA |  | 3.3
[7 empty] | TOTAL |  | #REF!
0